## ListTechno
Technology | Units | Description
BoilerPellet | kW
BoilerGas | kW
BoilerOil | kW
HeatPumpAirWater | kW
HeatPumpWaterWater | kW
HeatPumpWaterSoil | kW
SeasonalStorage | m3
DailyStorageLt | m2 | Lt: Low temperature, heating
DailyStorageHt | m2 | Ht: High temperature, warm water
PipeStreet | m/m | pipe under street, size related to the nominal diameter
PipeFields | m/m | pipe under fields, size related to the nominal diameter
PV | m2
SolarThermalPanel | m2
CHP | kW | heat production only, ORC and IC
IsolationRoof | m/m2 | Cost added to a roof "without" isolation
IsolationWindows | Ugtot/m2 | Cost added to a windows "without" isolation
IsolationWall | m/m2 | Cost added to a wall "without" isolation

## BoilerPellet
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
15 | 26000 |  |  |  | Project SMART HEAT (CREM) - Anonymous source 1
150 | 75000 |  |  |  | Project SMART HEAT (CREM) - Anonymous source 1
500 | 633000 | 250000 | 883000 | 17660 | Project SMART HEAT (CREM) - Anonymous source 2
2000 | 1704000 | 500000 | 2204000 | 44000 | Project SMART HEAT (CREM) - Anonymous source 2
10000 | 5760000 | 1800000 | 7560000 | 151200 | Project SMART HEAT (CREM) - Anonymous source 2
20 |  |  | 55000 | 4100 | Planair, Thermoreseau de SATOM SA; Comparaison de prix de chauffage,SATOM SA, 2015
125 |  |  | 140000 | 24800 | Planair, Thermoreseau de SATOM SA; Comparaison de prix de chauffage,SATOM SA, 2015
400 |  |  | 418000 | 64100 | Planair, Thermoreseau de SATOM SA; Comparaison de prix de chauffage,SATOM SA, 2015

## BoilerGas
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
15 | 9000 |  |  |  | Project SMART HEAT (CREM) - Anonymous source 1 | 2014
150 | 25000 |  |  |  | Project SMART HEAT (CREM) - Anonymous source 1 | 2014
4000 | 280000 |  |  |  | Project SMART HEAT (CREM) - Anonymous source 1 | 2014
500 | 175500 | 80000 | 255500 | 3800 | Project SMART HEAT (CREM) - Anonymous source 2 | 2014
2000 | 459000 | 120000 | 579000 | 8600 | Project SMART HEAT (CREM) - Anonymous source 2 | 2014
10000 | 1230000 | 150000 | 1380000 | 20700 | Project SMART HEAT (CREM) - Anonymous source 2 | 2014
20 |  |  | 16200 | 5900 | Planair, Thermoreseau de SATOM SA; Comparaison de prix de chauffage,SATOM SA, 2015
125 |  |  | 45750 | 34600 | Planair, Thermoreseau de SATOM SA; Comparaison de prix de chauffage,SATOM SA, 2015
400 |  |  | 87000 | 90900 | Planair, Thermoreseau de SATOM SA; Comparaison de prix de chauffage,SATOM SA, 2015
12.1 | 3099 |  |  |  | Viessmann catalogue 2018
17.6 | 3383 |  |  |  | Viessmann catalogue 2018
24.1 | 3561 |  |  |  | Viessmann catalogue 2018
32.5 | 4725 |  |  |  | Viessmann catalogue 2018
12.1 | 3443 |  |  |  | Viessmann catalogue 2018
17.6 | 3727 |  |  |  | Viessmann catalogue 2018
24.1 | 3905 |  |  |  | Viessmann catalogue 2018
32.5 | 5069 |  |  |  | Viessmann catalogue 2018
12.1 | 5141 |  |  |  | Viessmann catalogue 2018
17.6 | 5324 |  |  |  | Viessmann catalogue 2018
24.1 | 5530 |  |  |  | Viessmann catalogue 2018
12.1 | 5485 |  |  |  | Viessmann catalogue 2018
17.6 | 5668 |  |  |  | Viessmann catalogue 2018
24.1 | 5847 |  |  |  | Viessmann catalogue 2018

## BoilerOil
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
9 |  |  | 22000 |  | Sabine Perch-Nielsen et al., Prixdes pompes à chaleur air-eau […] , Ernst Basler + Partner AG , 2015
20 |  |  | 18700 | 5130 | Planair, Thermoreseau de SATOM SA; Comparaison de prix de chauffage,SATOM SA, 2015
125 |  |  | 60250 | 30100 | Planair, Thermoreseau de SATOM SA; Comparaison de prix de chauffage,SATOM SA, 2015
400 |  |  | 112000 | 76500 | Planair, Thermoreseau de SATOM SA; Comparaison de prix de chauffage,SATOM SA, 2015
34 | 8500 |  |  |  | Viessmann catalogue, 2018, 3.3-2
34 | 8700 |  |  |  | Viessmann catalogue, 2018, 3.3-2
41 | 9600 |  |  |  | Viessmann catalogue, 2018, 3.3-2
41 | 9850 |  |  |  | Viessmann catalogue, 2018, 3.3-2
52 | 10300 |  |  |  | Viessmann catalogue, 2018, 3.3-2
52 | 10600 |  |  |  | Viessmann catalogue, 2018, 3.3-2
52 | 10700 |  |  |  | Viessmann catalogue, 2018, 3.3-2
65.3 | 11232 |  |  |  | Viessmann catalogue, 2018, 3.4-16
83 | 14170 |  |  |  | Viessmann catalogue, 2018, 3.4-16
103.6 | 17000 |  |  |  | Viessmann catalogue, 2018, 3.4-16

## HeatPumpAirWater
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
10 |  |  | 30000 |  | Project SMART HEAT (CREM) - Anonymous source 1
30 |  |  | 120000 |  | Project SMART HEAT (CREM) - Anonymous source 1
100 | 105000 | 50000 | 155000 | 2300 | Project SMART HEAT (CREM) - Anonymous source 2 | compression
500 | 409500 | 100000 | 509500 | 7600 | Project SMART HEAT (CREM) - Anonymous source 2 | compression
2000 | 1260000 | 250000 | 1510000 | 22600 | Project SMART HEAT (CREM) - Anonymous source 2 | compression
100 | 201000 | 50000 | 251000 | 3760 | Project SMART HEAT (CREM) - Anonymous source 2 | absorption
500 | 793500 | 100000 | 893500 | 13400 | Project SMART HEAT (CREM) - Anonymous source 2 | absorption
2000 | 2244000 | 250000 | 2494000 | 37400 | Project SMART HEAT (CREM) - Anonymous source 2 | absorption
9 |  |  | 36000 |  | Sabine Perch-Nielsen et al., Prixdes pompes à chaleur air-eau […] , Ernst Basler + Partner AG , 2015
3.8 | 6890 |  |  |  | Viessmann catalogue, 2018
4 | 7950 |  |  |  | Viessmann catalogue, 2018
5.5 | 7500 |  |  |  | Viessmann catalogue, 2018
5.5 | 8500 |  |  |  | Viessmann catalogue, 2018
6.7 | 7900 |  |  |  | Viessmann catalogue, 2018
7 | 12230 |  |  |  | Viessmann catalogue, 2018
7.5 | 11383 |  |  |  | Viessmann catalogue, 2018
9 | 9200 |  |  |  | Viessmann catalogue, 2018
10 | 12403 |  |  |  | Viessmann catalogue, 2018
10 | 12500 |  |  |  | Viessmann catalogue, 2018
10.5 | 13400 |  |  |  | Viessmann catalogue, 2018
11 | 13000 |  |  |  | Viessmann catalogue, 2018
11.6 | 11617 |  |  |  | Viessmann catalogue, 2018
11.5 | 16000 |  |  |  | Viessmann catalogue, 2018
12 | 16500 |  |  |  | Viessmann catalogue, 2018

## HeatPumpWaterWater
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
100 | 81000 | 150000 | 231000 | 3400 | Project SMART HEAT (CREM) - Anonymous source 2
500 | 313500 | 520000 | 833500 | 12500 | Project SMART HEAT (CREM) - Anonymous source 2
2000 | 864000 | 1750000 | 2614000 | 39200 | Project SMART HEAT (CREM) - Anonymous source 2

## HeatPumpWaterSoil
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
10 | 24000 |  |  |  | Project SMART HEAT (CREM) - Anonymous source 1
100 | 175000 |  |  |  | Project SMART HEAT (CREM) - Anonymous source 1

## SeasonalStorage
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
300 |  |  | 132000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
500 |  |  | 230000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1000 |  |  | 405000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
410 |  |  | 410000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
700 |  |  | 175000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
900 |  |  | 261000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1200 |  |  | 180000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1200 |  |  | 120000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1200 |  |  | 294000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1350 |  |  | 283500 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1350 |  |  | 216000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1350 |  |  | 67500 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1400 |  |  | 126000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1400 |  |  | 42000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1430 |  |  | 157300 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
1460 |  |  | 219000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
10000 |  |  | 800000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
10000 |  |  | 600000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
11000 |  |  | 1210000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
16000 |  |  | 605000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
21000 |  |  | 2940000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
31000 |  |  | 1581000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012
75000 |  |  | 1875000 |  | D. Mangold, O. Miedaner Technisch-wirtschaftliche Analyse und Weiterentwicklung der solaren Langzeit-Warmespeicherung, Solites, 2012

## DailyStorageHt
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
0.75 | 4825 |  |  |  | viessmann catalogue, 2018
0.75 | 4400 |  |  |  | viessmann catalogue, 2018
0.95 | 4800 |  |  |  | viessmann catalogue, 2018
0.95 | 5220 |  |  |  | viessmann catalogue, 2018

## DailyStorageLt
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
0.08 | 2000 |  |  |  | Project SMART HEAT (CREM) - Anonymous source 1
6 | 17000 |  |  |  | Project SMART HEAT (CREM) - Anonymous source 1
0.046 | 504 |  |  |  | viessmann catalogue, 2018
0.2 | 915 |  |  |  | viessmann catalogue, 2018
0.4 | 1190 |  |  |  | viessmann catalogue, 2018
0.6 | 1580 |  |  |  | viessmann catalogue, 2018
0.75 | 1780 |  |  |  | viessmann catalogue, 2018
0.95 | 1840 |  |  |  | viessmann catalogue, 2018
1.5 | 2000 |  |  |  | viessmann catalogue, 2018
2 | 3200 |  |  |  | viessmann catalogue, 2018

## PipeStreet
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
20 | 226 | 165 | 391 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
25 | 231 | 165 | 396 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
32 | 257 | 165 | 422 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
40 | 272 | 165 | 437 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
50 | 293 | 202 | 495 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
65 | 335 | 202 | 537 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
80 | 376 | 240 | 616 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
100 | 504 | 256 | 760 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
125 | 640 | 273 | 913 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
150 | 791 | 310 | 1101 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
200 | 960 | 351 | 1311 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
250 | 1363 | 393 | 1756 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505

## PipeFields
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
20 | 226 | 83 | 309 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
25 | 231 | 83 | 314 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
32 | 257 | 83 | 340 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
40 | 272 | 83 | 355 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
50 | 293 | 107 | 400 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
65 | 335 | 107 | 442 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
80 | 376 | 124 | 500 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
100 | 504 | 140 | 644 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
125 | 640 | 157 | 797 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
150 | 791 | 165 | 956 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
200 | 960 | 182 | 1142 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505
250 | 1363 | 207 | 1570 |  | T. Nussbaumer, S. Thalmann Infuence of system design on heat distribution costs in district heating Energy, vol.101, 2016, pp.496-505

## PV
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
1 |  |  | 500 |  | http://www.energie2020.ch/combiencoteuneinstallatio.htm
1 |  |  | 600 |  | http://www.energie2020.ch/combiencoteuneinstallatio.htm
1 |  |  | 420 |  | https://www.helion.ch/solaranlage/kosten/
1 |  |  | 332 |  | https://www.helion.ch/solaranlage/kosten/
171 |  |  | 57000 |  | https://www.suisseenergie.ch/page/fr-ch/co%C3%BBt-dune-installation
29 |  |  | 20000 |  | https://www.suisseenergie.ch/page/fr-ch/co%C3%BBt-dune-installation

## CHP
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
300 | 349500 | 80000 | 429500 | 12800 | Project SMART HEAT (CREM) - Anonymous source 2
800 | 673500 | 120000 | 793500 | 23800 | Project SMART HEAT (CREM) - Anonymous source 2
1500 | 1111500 | 150000 | 1261500 | 37800 | Project SMART HEAT (CREM) - Anonymous source 2
1500 | 1867500 | 150000 | 2017500 | 60500 | Project SMART HEAT (CREM) - Anonymous source 2
7500 | 3720000 | 280000 | 4000000 | 120000 | Project SMART HEAT (CREM) - Anonymous source 2
15000 | 6705050 | 520000 | 7225050 | 216750 | Project SMART HEAT (CREM) - Anonymous source 2
21.4 | 21560 |  |  |  | http://www.bhkw-prinz.de/ec-power-xrgi-6-und-xrgi-9-mini-bhkw/3208
31 | 25000 |  |  |  | http://www.bhkw-prinz.de/ec-power-xrgi-6-und-xrgi-9-mini-bhkw/3208
71 | 54000 |  |  |  | http://www.bhkw-prinz.de/spilling-gmbh-20-kw-powertherm-bhkw/901

## SolarThermalPanel
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
6 | 10000 | 4400 | 14400 |  | Project SMART HEAT (CREM) - Anonymous source 1
50 |  |  | 90000 |  | Project SMART HEAT (CREM) - Anonymous source 1
10 |  |  | 20000 |  | https://www.suisseenergie.ch/page/fr-ch/co%C3%BBt-dune-installation
32 |  |  | 58000 |  | https://www.suisseenergie.ch/page/fr-ch/co%C3%BBt-dune-installation
1 |  |  | 1500 |  | Swissolar, Fiche d'information: Chaleur solaire 2017
1 |  |  | 3000 |  | Swissolar, Fiche d'information: Chaleur solaire 2017

## IsolationRoof
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
| 0.12 |  |  | 80 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004
| 0.14 |  |  | 84 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004
| 0.18 |  |  | 98 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004
| 0.24 |  |  | 122 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004

## IsolationWindows
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
1.1 |  |  | 300 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004
0.7 |  |  | 350 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004
0.5 |  |  | 400 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004

## IsolationWall
units | cost_machine | cost_installation | CAPEX | maintenance | reference | note
0.12 |  |  | 80 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004
0.16 |  |  | 90 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004
0.2 |  |  | 100 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004
0.24 |  |  | 120 |  | Eberhard Jochem, Martin Jakob, Kosten und Nutzen Warmeschutz bei Wohnbauten. Bundesam fur Energie (BFE), 2004